[image: image4.png]



                                  City of Marina

                                 New Construction

Plan Submittal Requirements

PREFERRED METHOD OF SUBMITTAL IS THROUGH OUR ONLINE PORTAL WWW.CITYOFMARINA.ORG IF PROVIDING HARD COPIES (1) COMPLETE SET OF PLANS WILL BE REQUIRED (ADDITIONAL SETS MAY BE REQUIRED IF ADDITIONAL DEPARTMENT APPROVAL IS NEEDED). PLANS MUST HAVE STAMP AND SIGNATURE, IN INK, BY THE DESIGNER, ARCHITECT, OR ENGINEER AND MUST INCLUDE THE FOLLOWING: 

PLOT PLAN (DRAWN TO SCALE)
1. Assessor’s parcel number and street address

2. Name, address, and phone number of owner (s)
3. Name, address, phone number and signature of responsible designer. 
4. Name, address, phone number and contractors state license number of responsible contractor (if determined). 

5. Dimensions of the lot and all buildings on property (both existing and proposed)

6. Distances between buildings and from buildings to property lines

7. Show all street, roads, and easements

8. Show lot grades and final lot drainage if lot is sloped

9. Provide elevations for finish floor above adjacent grades and roadways.
FOUNDATION PLAN
1. Provide foundation plan for stem walls slab on grade, footings, pier locations and dimensions. 

2. Indicate size and type of reinforcement steel.

3. Indicate locations, sizes and types of hardware for hold-downs, anchor bolts, post and column bases.

4. All concrete to meet minimum #2500psi unless engineer provides design for other. 

FLOOR PLAN
1. Label all rooms and provide dimensions.
2. Show all doors and windows, and dimensions. 
3. Show location of furnace and water heater, and method of obtaining combustion air for same.
4. Show fire separations if required.
5. Show under-floor and attic access.
6. Fire sprinklers required. Indicate if sprinklers are to be deferred submittal.
7. Show location of electrical service panel. Provide electrical lay out for all devices, switches and lighting. 
8. Show location of smoke & carbon monoxide alarm/detectors.

9. Show locations of all electrical outlets and switches.

10. Square footage 

EXTERIOR ELEVATIONS

1. Show slope of property in relation to structure.
2. Indicate roof pitch and roofing materials.

3. Provide exterior wall finishes, i.e. siding, stucco, etc.

4. Show exterior decks, stairs, landings, guard and hand rails. 

FRAMING DETAILS
1. Provide framing details for floor, walls, ceiling and roof framing, include details for window and door openings.
2. Indicate lumber species and grades required.

3. Provide truss design, manufacturer, and associated calculations.

TWO (2) COMPLETE SETS OF ENERGY CALCULATIONS AND SOILS REPORTS ARE REQUIRED. EACH SET NEEDS AN ORIGINAL STAMP AND SIGNATURE, IN INK, BY THE DESIGNER, ARCHITECT, OR ENGINEER AND MUST INCLUDE THE FOLLOWING:
ENERGY CALCULATIONS
1. Provide Title 24, Part 6 Energy Compliance Forms. All forms to be registered.
2. All aspects of the calculations must be reflected in the drawings

STRUCTURAL CALCULATIONS
1. Provide engineers calculations for unconventional construction.
2. Provide engineers calculations for all beams, posts and columns that carry point loads.
3. Provide shear and roof diaphragm details and transfers. Include all shear walls and nailing schedules.
4. Indicate special inspections for soils, concrete, welding, bolting, epoxy etc. as required.

5. Indicate locations, types and sizes of all hardware, straps, hold-downs etc.
SOILS REPORT
1. When required by the City Engineer or Building Official 
ADDITIONAL FEES MAY APPLY

1. Installation of fire sprinklers (Deferred submittal, additional fees paid through Fire Department)
2. School fees if habitable area added exceeds 500 sq. ft.
3. City of Marina Public Facilities Impact Fees (New Construction, see Fee Summary for current year)

4. TAMC (Traffic Authority of Monterey County). Regional impact fee for new structures or change of use.

5. FOR A (Fort Ord Reuse Authority). Fees for new construction.

6. Sewer Capacity Charges-Monterey One Water (formerly MRWPCA)-City form to be submitted and signed

7. Water & Sewer Charges-Marina Coast Water District-City form to be submitted and signed

8. Construction & Demolition Recycling Guide (C & D)-City form to be completed by Contractor

9. Health Department. For restaurants, public spas and swimming pools.

10. Monterey Bay Air Resources District Permit (New Construction or potential to emit air contaminants)
· PLAN CHECK FEE (BASED UPON CONSTRUCTION VALUATION) WILL BE COLLECTED AT THE TIME OF PLAN SUBMITTAL; ALL OTHER FEES WILL BE COLLECTED AT THE TIME OF PERMIT ISSUANCE. 
· PLEASE OBTAIN THE DEBRIS RECYLCING STATEMENT AND COMPLETE THE FORM IN ITS ENTIRETY.

· ONLY LICENSED CONTRACTORS OR BUILDING OWNERS MAY BE ISSUED A BUILDING PERMIT.

[image: image1.png]


[image: image2.png]


[image: image3.jpg]



[image: image4.png]